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(a) Each student should be supplied with the following
1. Burette 
2. Pipette
3. Pipette filler
4. Filter funnel
5. White tile 
6. Clamp and stand 
7. 2 conical flask 
8. 100 cm3glass Beaker (empty)
9. Stop watch 
10.  100cm3 measuring cylinder 
11.  10cm3measuring cylinder 
12.  250 cm3volumetric flask 
13.  Metallic spatula 
14.  6 clean test tubes
15.  Test tube holder 
16.  500ml distilled water 
17.  White piece of paper or filter paper 
18.  1 filter paper 
19.  1 labelling paper 
20.  Phenolphthalein indicator 
21.  About 90cm3 solution K
22.  About 100cm3 solution L
23.  About 70cm3 solution N
24.  About 90cm3 solution P
25.  About 0.5gNaHCO3
26.  About 1.0g solid Q

(b) Each student should have access to the following solutions:
1. Mean of heating 
2. 2M NaOH
3. 2M HNO3
4. Pb(NO3)
5. Acidified KMNO4 
6. Potassium iodide solution 
NB: the above solutions should be supplied with a dropper each.



(c)   SOLUTIONS PREPARATION AND SOLID MEASUREMENTS
1. Solution K IS 1M H2SO4
2. Solution L IS 0.36 M NaOH containing 14.4g OF NAOH in 1 litre of the solution 
3. Solution N IS 2M HCl
4. Solution P IS 0.16 M Na2S2O3(Sodium thiosulphate)
5. Solid Q is a mixture of sodium sulphite(Na2SO3) and lead (II) carbonate (PbCO3) mixed in the ratio 1:1 (should be thoroughly mixed)
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